**Multispectral Imaging with PixelCam**

**Experiment 2\_BIG10\_20210312\_1**

* Plants
  + Col-0
  + 20 days
* Experimental test groups
  + Stress: 8 mL 1 M NaCl
  + Control: 8 mL DI water
* Light settings

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **450nm** | **660nm** | **735nm** | **5700k** | **850nm** |
| 100 | 20 | 1000 | 50 | + |

* PixelCam Settings
  + F-stop 2.8
  + Gain: 0
  + Exposure: 20ms
  + 1 min time-lapse
* Timeline
  + Lids removed: 8:07 PM
    - RH: 83
  + Imaging start: 8:44 PM
    - RH: 79
  + Stress initiated: 9:09 PM
    - RH: 76
* PixelCam Scene Layout

1 M NaCL

1 M NaCl

Control

1 M NaCl

* Brinno Scene Layout

Control

1 M NaCl

1 M NaCl

1 M NaCl

Scissors